[image: image1.jpg]


SYSTEM SPECIFICATION
[image: image2.jpg]architecitural COATINGS



SYSTEM SPECIFICATION
adex-CB

 adex-CB
This document contains information made available to specialised designers, architects, engineers or other professionals, as a guide only, to help them prepare a technical specification.  Specialised designers, architects, engineers or other professionals bear the complete responsibility of evaluating usability, conformity and relevance of the information in view of the particular project and they commit to verify all technical data in the present document in order to assess their suitability in the project.  When such use is done by specialised designers, architects, engineers or other professionals, they take full responsibility for the information as if it were their own.  Use by a non-specialised person is strongly advised against.


This document replaces any specification issued prior to April 2014
PART 1 GENERAL

1.1 Work Included

Provide all labour, materials and equipment necessary to install the rainscreen ADEX-CB system, as evaluated to the CAN/ULC S-101 standard or whose main components were evaluated according to the standard CAN / ULC S-114.

1.2 Related Sections

1. Metal framing


Section 05 40 00

2. Thermal and Moisture Protection
Section 07 27 00

1.3 Description


The exterior ADEX-CB system is a rainscreen system consisting lightweight cement boards installed over a vented drainage cavity and air/moisture barrier.  The cement boards are attached over furring and coated with a non-combustible acrylic base coat.  The system includes the following components:

· Air/Moisture barrier;
· Lightweight Cement Board;

· Mechanical fasteners;

· PVC trim mouldings;

· 100% acrylic base coat;

· Glass fibre mesh;

· 100% acrylic finish coat (and primer).

1.4 Design Requirements 

1. All work undertaken must comply with current codes, norms, construction best practices, as well as the manufacturer’s installation instructions;

2. The substrate system shall be engineered to withstand all applicable loads, including live, dead, seismic, positive and negative, etc. 

3. On horizontal surfaces, the minimum slope of the system shall be a 6:12 pitch with a  maximum length of 250mm (10").

4. The substrate shall be covered with a waterproof air/moisture membrane, sealed at all joints, wall openings and penetrations.

5. Cement boards shall never be fastened directly onto studs.

6. The furring system must allow for venting and for drainage towards the exterior.

7. Expansion joints that allow for building movement shall be installed in the following locations:

a) At floor levels of all buildings;

b) At floor levels where a deflection track is present;

c) At control joints in the substrate;

d) At expansion joints in the building; 

e) Where dissimilar materials or substrates meet;

f) At inside corners and major openings;

g) Anywhere specified on the plans;

h) At a maximum distance of 5m (16ft), to counter thermal expansion;

i) Where deflection higher than L/360 is expected. 
8. To ensure compliance with current energy efficiency standards, provide for a thermal break that will be deemed appropriate based on the weight and combustibility requirements.
1.5 Quality Assurance

1. System manufacturer shall be ADEX Systems Inc.

2. The applicator shall have a sufficient amount of experience and enough qualified labour at his disposal to install the specified system. 

3. The applicator shall follow all professional’s directions when installing system components.

1.6 Delivery, Storage and Handling

1. All materials supplied by ADEX Systems Inc. shall be delivered in their sealed, original packaging with legible labels intact. 

2. All materials supplied by ADEX Systems Inc. shall be stored in a cool, dry location at temperatures above 5ºC (41ºF) and protected from weather and other damage.

3. Store materials way from direct sunlight and protect from temperatures in excess of 32ºC (90º F).

4. Materials suspected of having been frozen or damaged must not be used.

5. Store cement boards on a smooth, horizontal surface.

6. Boards shall be handled according to manufacturer's recommendation in order to prevent damage or loss of performance to the boards.

1.7 Job Conditions

1. Ambient and substrate temperatures shall be minimum 5ºC (41ºF) during installation.

2. When installing in climatic temperatures below 5ºC (41ºF), tarping, heating and ventilation shall be provided to maintain proper installation temperatures.

3. Ambient temperature shall be maintained above 5ºC (41ºF) for a minimum of 24 hours after installation to ensure that drying is complete.

4. Installation of ADEX materials shall be co-ordinated with other construction trades.

1.8 Alternatives

Systems considered equivalent to the ADEX-CB system shall be approved by the architect, in writing, at least ten (10) working days prior to the project bid date.

1.9 Warranty

Upon request, the manufacturer shall provide a 10-year limited warranty, stating that materials conform to specifications and are free of manufacturing defects.

PART 2 PRODUCTS

2.1 Manufacturer 

All components of the system shall be obtained from ADEX Systems Inc. or its authorised distributors. No substitution or addition of other materials is permitted without written consent from the manufacturer.

2.2 Products

1. Air/Moisture barrier:

a) Shall be 100% acrylic, such as 

i. Vapour permeable membranes:

a. HYDROFLEX STD (vapour permeable), mixed 1:1 by weight with Type GU cement or;

b. HYDROFLEX WO (vapour permeable) or;

ii. Vapour barrier membranes: 

a. HYDROFLEX-GUARD (not vapour permeable), mixed 1:1 by weight with Type GU cement or;

b. HYDROFLEX-VB (not vapour permeable.

b) Shall meet ASTM E-283 for air permeability;

c) Shall be manufactured by ADEX Systems inc.

2. Metal Furring:

a) Metal furring (z-bars) shall be minimum 20-gauge in thickness with flange widths no less than 32mm (1.25") for fastening of the cement boards;

b) Maximum lengths of metal furring shall be used to conform to dimensions indicated on the drawings.  Deflection of assembly shall not exceed L/360;

c) Metal shall be hot-dip galvanised, conforming to ASTM-A525 (G90).
d) To ensure compliance with current energy efficiency standards, provide for a thermal break that will be deemed appropriate based on the weight and combustibility requirements.
3. Lightweight cement board

a) For compliance with CAN / ULC S-101 assembly: Shall be PermaBase or PermaBase-Flex from UNIFIX Inc, with dimensions as specified on the drawings, and be made of Portland cement, sand, and expanded polystyrene beads, with a fully embedded alkali-resistant fibreglass mesh facing;

b) For compliance with CAN / ULC S-114 components: Shall be Durock Next Gen cement board manufactured by CGC Inc with dimensions as specified on the drawings.

c) The cement board shall have the following minimum performance characteristics:

	1. Free of asbestos, gypsum, organic fibres or cellulose:
	Yes

	2. Ends and sides shall be cut square:
	Yes

	3. Water absorption (ASTM C473):
	Less than 15%

	4. Weight:
	Maximum 14.65 Kg/m2 (3 Lbs/ft2)

	5. Mildew resistance (ASTM D-3273):
	No growth

	6. Resistance to wind gusts (ASTM E330):
	144 Kg/m2 (30 Lbs/ft2)

	7. Flame spread (ASTM E-84):
	0

	8. Smoke developed (ASTM E-84):
	0

	9. Fastener pull strength (ASTM D-1037):
	849 N (125 Lbs)

	10. Flexural strength (ASTM C947):
	750 psf

	11. Compression strength (ASTM D-2394):
	>1250

	12. Minimum thickness:
	12.7 mm (1/2‘’)


4. Fasteners :

Shall be self-tapping, wafer-head screw with the following minimal requirements:

a) Diameter of head: 10.1mm (0.40");

b) Without ribs under the screw head;

c) Underside of head: Flat or with maximum angle of 15o;

d) "NOCOROD" chromate-based anti-corrosion treatment, with 3 mil thick electro-plating;

e) Salt spray resistance (ASTM B117):  500 hours;

f) Sulfur Dioxide (SO2) resistance (Kesternich test): 5 cycles.

5. PVC mouldings (if necessary):

Shall meet ASTM D-1784 standards for exterior use. 

(See NOVATRIM shapes in ADEX CATALOGUE).

6. Acrylic base coat:

Shall be a 100% acrylic-based, asbestos-free product, made by ADEX Systems Inc, such as ADEX BASECOAT.
For compliance with CAN / ULC S-114 components: Shall be ADEX BASECOAT which meets CAN/ULC S-144 standards.

7. Glass Fibre Mesh:

a) Shall be sold by ADEX Systems or by one of its authorised distributors;

b) Shall meet ASTM D-5034 standard;

c) Shall have different weights according to specific needs:

1. UNITAPE: 
self-adhesive
75mm (3") wide

2. ADEX STANDARD MESH:

96 cm (38") wide

8. Primer:

Shall be an acrylic and silica mix that can be applied by roller, such as PRIMEX, manufactured by ADEX Systems Inc. 

9. Finish coat:

a) Shall be factory-mixed, 100% acrylic-based, ready-to-use, containing integral colour and texture;

b) The texture shall be [see ADEX CATALOGUE].

2.3 Other materials

1. Cement:

Shall be lump-free, Type GU cement meeting CSA A3001 standards.

2. Water:

Shall be clean, potable and free of sediment; 
3. Waterproof flexible membrane:

Shall be a self-adhesive composite membrane, such as EIFS Tape;
4.
 Backer Rod & Sealant

a)
Refer to Section 07 90 00.

b)
Backer rod must be closed pore type. 

c)
Use only low-modulus caulking with long service lives and compatible with EIFS components and adjacent surfaces.

d)
Products should meet ASTM C1382: Standard Test Method for Determining Tensile Adhesion Properties of Sealants When Used in EIFS Joints, such as: ADSEAL DWS 4580 or LM4600 by ADFAST.
2.4 Tests


1. Tests performed by an independent laboratory on the specified materials can be requested.

2. Properties shall meet or exceed the following values when tested by methods listed:

	Test Method
	Result

	1) Durability Under Climatic Conditions:

CCMC TG Appendice A2  (60 cycles)
	No cracking, leaking or bubbling of basecoat. No delamination or cracking of finish coat.

	2) Accelerated Weather Resistance: 


ASTM G155 (exposed 2000 hours)
	No deleterious effect.

	3) Salt Spray Resistance: 

ASTM B117 (exposed 300 hrs)
	No deleterious effect.

	4) Mildew and Fungus Resistance: 

CCMC 6.8 
	No mildew or fungal growth.

	5) Water Permeability: 


CCMC 6.6
	> 2 hours.

	6) Water Absorption: 


CCMC 6.7
	< 20%.

	7) Water Vapour Transmission:

  
ASTM E96, desiccant method
	> 170 ng/Pa.s.m2.




PART 3 EXECUTION

IMPORTANT NOTE:  Follow the recommendations of the structural engineer and / or architect to ensure proper installation and that it is in compliance with current energy efficiency standards.
3.1 Inspection


1. Inspect the substrate to verify that it is structurally sound and solid, ensuring there are not any irregular voids or projections.

2. Inspect the air/moisture membrane and verify it is continuous and sealed at all junctions and around all wall openings.

3. Inspect all metal flashing to ensure that it is properly installed, making certain that moisture will be deflected to the exterior of the system.

4. The architect and general contractor shall be advised of any discrepancies. Work shall not proceed until unsatisfactory conditions are corrected.

3.2 Preparation


1. Protect all adjacent areas and surfaces from damage during the installation of this system. 

2. Protect installed materials at the end of each workday to prevent moisture from infiltrating the system.

3.3 Mixing


ADEX Base coat:

a) In a clean container, mix ADEX base coat and Type GU cement at a ratio (by weight) of one-to-one; 

b) Allow mixture to set up for 5 minutes and mix again to break the initial set;

c) All other additives (such as rapid binder, anti-freeze, accelerator or others) are strictly prohibited.

3.4 Installation


1. Air/Moisture Barrier:

a) Ensure flexible membranes are installed, sealing all junctions between the substrate and other materials (openings, wall penetrations, etc.);

b) For the HYDROFLEX GUARD membrane:

i. STANDARD MESH is embedded into the HYDROFLEX GUARD membrane to help dictate proper thickness as well as treat the sheathing joints.

ii. Trowel HYDROFLEX GUARD over the substrate to an approximate thickness of 2mm (3/16").

iii. Immediately embed ADEX STANDARD MESH into the wet HYDROFLEX GUARD membrane. Trowel from the centre of the mesh outwards to prevent wrinkles from forming in the mesh.  Smooth out the membrane to eliminate trowel lines.
iv. The final thickness of the HYDROFLEX GUARD membrane shall be such that the STANDARD MESH is fully embedded and not visible.  If mesh is visible, apply an additional skim coat of HYDROFLEX GUARD
c) For other membranes :

i. Apply a layer of HYDROFLEX membrane over all sheathing joints and immediately embed UNITAPE tape into the membrane; 

ii. Refer to technical sheet for membrane application 

d) Allow 24 hours (minimum) to elapse prior to installation of insulation boards over the HYDROFLEX membrane.

2. Furring Strips:

a) (By others) Install metal ('Z-bars' or 'omega-shaped') vertically onto the substrate (over the air/moisture membrane);

b) Maximum distance between furring shall be 400mm (16''), 300 mm (12'') on soffits and 200mm (8'') when PermaBase Flex is used.  When installing, align the furring to ensure a maximum deviation of 3mm in 2400mm (1/8'' in 8ft);

c) Where expansion joints are to be installed, furring shall be interrupted, providing a minimum space of 12mm (1/2'');

d) Provide adequate ventilation and drainage at the bottom of all walls;

e) Install bug screens at the bottom of the walls (wrapped around furring strips) as required.

3. Cement Board:

a) Do not install wet cement board panels;

b) Position boards horizontally, perpendicularly to the furring. The rough surface and tapered edges shall face outwards. Ensure all edges are fully supported by furring and/or studs.  Cement boards shall tightly abut adjacent boards, without gaps;
c) Avoid locating cement board joints at the corners of wall openings (such as windows and doors);
d) Offset vertical cement board joints by a minimum of 300mm (12") from adjacent panels;

e) Ensure each cement board panel or piece of board straddles a minimum of three (3) metal furring strips;

f) Install fasteners starting in the middle of the cement board panels and working out, toward the edges;

g) Fasten cement boards to furring with appropriate screws spaced every 200mm (8") and at 150mm (6") for soffits;

h) Screws shall be installed between 10mm and 15mm (3/8'' and 5/8'') from the edge of the cement boards;

i) Screw heads shall be flush with the surface of the cement board; they must not damage the fibreglass mesh facing. Ensure that the boards are well attached and that they are in continuous contact with the furring support;

j) Install a 50mm x 50mm (2" x 2”) 20-gauge galvanised steel corner bead at all interior and exterior corners for added support.  Corner bead fasteners shall penetrate the cement board but not enter into the substrate;

k) Attach NOVATRIMs where required, using stainless steel tacks every 200mm (8").  Ensure that joints in NOVATRIMs are properly aligned to reduce their visibility;

l) Remove from the face of the cement board all labels or foreign materials that could inhibit the adhesion of the base coat to the board surface.

4. Cement Board Joint Treatment:

a) Apply self-adhesive UNITAPE over all cement board joints;

b) Cover all UNITAPE, screws and NOVATRIM edges with ADEX base coat, making sure that all NOVATRIM flange holes are properly filled;
c) Install an additional 300mm (12") long piece of Starter mesh (at a 45º angle) at the corners of all wall openings;

d) Allow 24 hours minimum for drying.

5. Base Coat and Reinforcing Glass Fibre Mesh:

a) Apply the ADEX BASECOAT mixture over the entire surface of the cement boards to a uniform thickness of 1.6mm (1/16").  Immediately embed UNIROLL mesh into the wet ADEX base coat.  The base coat shall be smoothed until the mesh is fully embedded;

b) The STANDARD mesh shall be lapped a minimum of 63 mm (2 1/2") on all sides;

c) The STANDARD mesh shall cover all NOVATRIM flanges;

d) A second coat of ADEX base coat may be required if, after drying, there are imperfections or the mesh is not completely embedded;

e) A period of 24 hours shall elapse before installing the finish coat.

6. Finish Coat:

a) With a roller, apply an even coat of PRIMEX primer (same colour as the finish coat) prior to installing the finish coat. The primer shall be touch dry before starting to apply the finish coat;

b) Trowel-apply a tight coat of ADEX Finish, texture [see ADEX CATALOGUE] to a thickness not greater than the largest aggregate.  Apply the finish coat in a continuous fashion, maintaining a wet edge.  Levelling and texturing shall take place in one operation to give the finish coat a uniform appearance;

c) Avoid applications in direct sunlight;

d) Avoid applying finish coat at locations where caulking will be installed;

e) Ensure all PVC moulding connections are properly sealed.

3.5 Clean-Up

1. Remove waste and left over materials (used in this Section) from the job site.  

2. Clean all adjacent materials and surfaces, and repair any defects caused to this application or any other work.

3.6 Protection

1. Ensure that the general contractor protects all work against moisture infiltration and other damages by installing the necessary flashing and caulking in a timely manner.

2. Provide protection against dirt, moisture, high humidity, and freezing temperatures until materials are fully dry.

Information in this document contains the current recommendations for the installation of the ADEX-CB exterior system.  It is only provided as a guide and is subject to modifications at any time without notice.  ADEX Systems Inc. reserves the right to make any modification according to technological progress. Specialised designers, architects, engineers or other professionals that choose to make any use of this information bear the complete responsibility, whatever it be, direct or indirect, that could follow from such use.   ADEX Systems Inc. does not bear any responsibility that could give way to damages, defaults, defects, deficiencies, prejudices, loss or decrease of profit, be they direct or indirect, resulting from such use of this information by specialised designers, architects, engineers or other professional.
SYSTÈMESadex
adexSYSTEMS

CENTRE DES AFFAIRES
CORPORATE SALES CENTER
7911, Marco Polo
Montréal (Québec) Canada H1E 1N8
www.adex.ca
T 514-648-1213 | F 514-648-9597

ENDUITS architecturaux
architectural COATINGS
September 2025

7
Page 2 of 9

