[image: image1.jpg]


SYSTEM SPECIFICATION
[image: image2.jpg]architecitural COATINGS



SYSTEM SPECIFICATION
adex-HC

 adex-HC
This document contains information made available to specialised designers, architects, engineers or other professionals, as a guide only, to help them prepare a technical specification.  Specialised designers, architects, engineers or other professionals bear the complete responsibility of evaluating usability, conformity and relevance of the information in view of the particular project and they commit to verify all technical data in the present document in order to assess their suitability in the project.  When such use is done by specialised designers, architects, engineers or other professionals, they take full responsibility for the information as if it were their own.  Use by a non-specialised person is strongly advised against.


This document replaces any specification issued prior to April 2014
PART 1 GENERAL

1.1 Work Included

Provide all labour, materials and equipment necessary to install the ADEX-HC system.

1.2 Related Sections

1. Metal framing
Section 05400

2. Flashing 

Section 07600

3. Sealant

Section 07900


1.3 Description


The ADEX-HC system is a "hard-coat" system incorporating the use of a rigid fibre-reinforced base coat and extruded polystyrene insulation (XPS).  The result is a system that provides increased thermal and impact resistance.  The components include the following:

· Waterproof air/moisture barrier (when required);

· Extruded polystyrene (XPS) insulation boards;

· Mechanical fasteners;

· 100% acrylic, fibre-reinforced base coat;

· Glass fibre mesh;

· PVC mouldings (where necessary);

· 100% polymer acrylic finish coat (and primer).

1.4 Design requirements 

1. All work undertaken must comply with the current codes and norms, and conform to the manufacturer’s installation instructions and best practice guide.

2. The substrate system shall be engineered to withstand all applicable loads, including live, dead, seismic, suction, etc.

3. Approved substrates include the following:

a) Brick, masonry or concrete; 

b) Fibre cement boards; 

c) Gypsum boards coated with alkali resistant glass fibre mesh;

d) OSB (oriented strand board) or plywood;

e) Exterior grade gypsum board.

4. On horizontal surfaces, the minimum slope of the system shall be a 6:12 pitch with a  maximum length of 250mm (10").

5. Expansion joints that allow for building movement shall be installed in the following locations:

a) At floor levels of all buildings;

b) At floor levels where a deflection track is present;

c) At control joints in the substrate;

d) At expansion joints in the building;

e) Where dissimilar materials or substrates meet;

f) At inside corners and major openings;

g) Anywhere specified on the plans;

h) At a maximum distance of 5m (16ft), to counter thermal expansion, creating a maximum surface area (without breaks) of 14m2 (150ft2);

i) Where deflection higher than L/360 is expected. 

1.5 Quality Assurance

1. System manufacturer shall be ADEX Systems Inc.

2. The applicator shall have a sufficient amount of experience and enough qualified labour at his disposal to install the specified system. 

3. The applicator shall follow all professional’s directions when installing system components.

1.6 Delivery, Storage and Handling

1. All materials supplied by ADEX Systems Inc. shall be delivered in their sealed, original packaging with legible labels intact. 

2. All materials supplied by ADEX Systems Inc. shall be stored in a cool, dry location at temperatures above 5ºC (41ºF) and protected from weather and other damage.

3. Store materials way from direct sunlight and protect from temperatures in excess of 32ºC (90ºF).

4. Materials suspected of having been frozen or damaged must not be used.

1.7 Job Conditions

1. Ambient and substrate temperatures shall be minimum 5ºC (41ºF) during installation. 

2. When installing in climatic temperatures below 5ºC (41ºF), tarping, heating and ventilation shall be provided to maintain proper installation temperatures. 

3. Ambient temperature shall be maintained above 5ºC (41ºF) for a minimum of 24 hours after installation to ensure that drying is complete.

4. Installation of ADEX materials shall be co-ordinated with other construction trades.

1.8 Alternatives

Systems considered equivalent to ADEX  ICI-HC shall be approved by the architect, in writing, at least ten (10) working days prior to the project bid date.

1.9 Warranty

Upon request, the manufacturer shall provide a five-year limited warranty, stating that materials conform to specifications and are free of manufacturing defects.

PART 2 PRODUCTS

2.1 Manufacturer 

All components of the system shall be obtained from ADEX Systems Inc. or its authorised distributors. No substitution or addition of other materials is permitted without written consent from the manufacturer.

2.2 Products
1. Air/Moisture barrier:

a) Shall be 100% acrylic, such as:

1. HYDROFLEX STD (vapour permeable): Mixed 1:1 by weight with Type GU cement, trowel-applied;

2. HYDROFLEX WO (vapour permeable): Ready-mixed, trowel-applied;

3. HYDROFLEX VB (vapour barrier): Ready-mixed, trowel-applied.

b) Shall meet ASTM E-283 for air permeability;

c) Shall be manufactured by ADEX Systems Inc.

2. Extruded polystyrene insulation (XPS):

a) Shall be made by an ADEX Systems approved manufacturer;

b) Minimum board thickness shall be 38mm (1") and maximum board size shall be 600mm x 2400mm (24" x 96");

c) Shall meet CAN/ULC S701-01, Type IV specifications.

3. Mechanical fasteners:

a) Shall be Wind-Lock TFP-604 fasteners with non-corrosive screws or Technofix plastic nails (for masonry substrates only);

b) Screws shall have appropriate tips for attaching into the specified substrate;

c) Fasteners will be suitable in length to fasten minimum 25mm (1") into the framing or masonry substrate.

4. PVC mouldings (where necessary):

Shall meet ASTM-D1784 standards for exterior use. 

(See models in the ADEX CATALOGUE)

5. Acrylic base coat:

Shall be a 100% acrylic-based, asbestos-free product, manufactured by ADEX Systems Inc., such as :

a) NIVELEX. 

b) ADEX BASE.

6. Glass Fibre Mesh:

a) Shall be sold by ADEX Systems or by one of its authorised distributors;

b) Shall meet ASTM D-5034 standards;

c) Shall have different weights according to specific needs:

1. UNITAPE mesh:
self- adhesive

2. Starter mesh:
150g/m2
(4.5 oz/yd2)

3. HC mesh: 
160g/m2
(4.7 oz/yd2)

7. Primer:

Shall be an acrylic and silica mix that can be applied by roller, such as PRIMEX, manufactured by ADEX Systems Inc. 

8. Finish coat:

a) Shall be factory-mixed, 100% acrylic-based, ready-to-use, containing integral colour and texture;

b) The texture shall be [see ADEX CATALOGUE].

2.3 Other materials 

1. Cement:


Shall be lump-free, Type GU cement meeting CSA A3001 standards.

2. Water:


Shall be clean, potable and free of sediment. 

3. Flexible membrane:

Shall be a flexible, self-adhesive composite material tested for adhesion to itself and to ADEX components.  Suitable material includes EIFS TAPE (4"-12" rolls) used with the appropriate primer or the A-FLEX-SEALANT AND MESH. All other materials must be approved by adex systems inc.
4. Backer Rod & Sealant:

a) Refer to Section 07 90 00.
b) Backer rod must be closed pore type.
c) Use only low-modulus caulking with long service lives and compatible with EIFS components and adjacent surfaces.
d) Products should meet ASTM C1382: Standard Test Method for Determining Tensile Adhesion Properties of Sealants When Used in EIFS Joints, such as: ADSEAL DWS 4580 or LM4600 by ADFAST.
2.4 Tests


1. Tests performed by an independent laboratory on the specified materials can be requested.

2. Properties shall meet or exceed the following values when tested by methods listed:

	Test Method
	Result

	1) Durability Under Climatic Conditions:

CCMC TG Appendice A2  (60 cycles)
	No cracking, leaking or bubbling of basecoat. No delamination or cracking of finish coat.

	2) Accelerated Weather Resistance: 


ASTM G155 (exposed 2000 hours)
	No deleterious effect.

	3) Salt Spray Resistance: 

ASTM B117 (exposed 300 hrs)
	No deleterious effect.

	4) Mildew and Fungus Resistance: 

CCMC 6.8 
	No mildew or fungal growth.

	5) Water Permeability: 


CCMC 6.6
	> 2 hours.

	6) Water Absorption: 


CCMC 6.7
	< 20%.

	7) Water Vapour Transmission:

  
ASTM E96, desiccant method
	> 170 ng/Pa.s.m2.




PART 3 EXECUTION

3.1 Inspection


1. Inspect the substrate to verify that it is structurally sound and solid, ensuring there are not any irregular voids or projections.

2. Inspect all metal flashing to ensure that it is properly installed, making certain that moisture will be deflected to the exterior of the system.

3. Advise the architect and general contractor of any discrepancies that may impair the proper installation of the system. Work shall not proceed until unsatisfactory conditions are corrected.

3.2 Preparation


1. Protect all adjacent areas and surfaces from damage during the installation of ADEX materials.

2. Protect ADEX materials at the end of each workday to prevent moisture from infiltrating the system.

3.3 Mixing


1. HYDROFLEX STD membrane:

a) In a clean container, mix HYDROFLEX and Type GU cement at a ratio (by weight) of one-to-one;

b) Allow mixture to set up for 5 minutes and mix again to break the initial set;

c) All other additives (such as rapid binder, anti-freeze, accelerator or others) are strictly prohibited.

2. NIVELEX:

a) In the original container, mix 20-Kg of NIVELEX with 10-Kg of Type GU cement;

b) Allow mixture to set up for 5 minutes and mix again to break the initial set;

c) All other additives (such as rapid binder, anti-freeze, accelerator or others) are strictly prohibited.

3.
BASE COAT:

a) In a clean container, mix ADEX BASE coat and Type GU cement at a      ratio     (by weight) of one-to-one;

b) Allow mixture to set up for 5 minutes and mix again to break the initial set;

c) All other additives (such as rapid binder, anti-freeze, accelerator or others) are strictly prohibited.

3.4 Installation


1. Air/Moisture Barrier:

a) Install flexible membranes at all wall openings, penetrations, etc. in order to seal all transitions between the substrate and other materials;

b) Self-adhesive glass fibre tape (UNITAPE) shall be installed over all sheathing joints;

c) Apply a layer of HYDROFLEX STD over all sheathing joints and immediately embed UNITAPE glass fibre tape into the membrane;

d) Apply HYDROFLEX STD membrane over the entire surface ensuring a minimal thickness of 1.6mm (1/16");

e) Allow 24 hours (minimum) to elapse prior to installation of insulation boards over the HYDROFLEX membrane.

2. Insulation Boards:

a) Using a notched trowel, apply ADEX BASE adhesive in vertical ribbon orientation (10mm (3/8") wide by 5mm (3/16") thick, spaced 50mm (2")) onto the substrate;

b) Install extruded insulation boards onto the substrate, starting from the bottom.  The long edge of the insulation board shall be horizontal;

c) Mechanical fastening of insulation boards: (Initial fastening):

1. Install two mechanical fasteners per sheet of insulation.
2. Ensure that the correct screw type is suitable for the substrate and/or framing members specified.
3. Countersink fasteners approximately 1mm (1/32") into the surface of the EPS Board.  
4. Ensure complete contact of the extruded insulation board with the substrate.
d) Stagger the vertical joints of insulation boards and interlock insulation boards at all corners;

e) Stagger insulation board and sheathing board joints at least 150mm (6") apart from each other;

f) Ensure insulation board joints are not aligned with the corners of any wall openings (such as windows, door openings, etc);

g) Fasten all insulation boards tight to each other.  If gaps occur, insert slivers of insulation (without using adhesive), or fill the void with expanding polyurethane such as Wind-lock’s Foam2Foam;

h) Grooves shall be routed (using a hot-wire knife or router) where required for control joints and reveals. The minimum thickness of the insulation board at any point shall no less than 19mm (3/4");

i) Reveals/V-Grooves shall not be in alignment with insulation board joints or at the corners of openings;

j) The entire surface of the insulation boards shall be clean prior to the application of the ADEX NIVELEX base coat.

3. Battens & Foam Shapes:

a) All battens made of expanded polystyrene shall be installed mechanically fastening them to the system;

b) All battens and grooves shall have an outward-facing slope to prevent moisture from accumulating on them;

4. Base Coat and Reinforcing Mesh:

a) PVC moulding expansion joints (#2027-25) shall be fastened into the insulation using Trim-Tab fasteners;

b) Fasten Ultra mesh over the entire surface of the extruded insulation boards using the proper mechanical fasteners according to the substrate specified;

c) Mechanical fasteners shall be spaced 400mm (16") apart from each other;

d) The Ultra mesh shall be lapped a minimum of 63mm (2-1/2") on all sides;

e) Ultra mesh (and base coat) shall cover PVC moulding flanges;

f) The NIVELEX base coat shall be applied over the glass fibre mesh to a thickness of 3.2mm (1/8") to fully cover the mesh;

g) Install an additional 300mm (12") long piece of Starter mesh (at a 45º angle) at the corners of all wall openings;

h) Smooth and level the surface of the NIVELEX base coat until the mesh is fully embedded;

i) After the first coat has dried, apply a second coat of NIVELEX mixture creating a total thickness of 6.4mm (1/4");

j) Additional coats of the NIVELEX base coat may be required if, after drying, there are imperfections or the mesh is not completely embedded;

k) A period of 24 hours shall elapse before installing the finish coat.

5. Finish Coat:

a) With a roller, apply an even coat of ADEX PRIMEX primer (same colour as the finish coat) prior to installing the finish coat;

b) Trowel-apply a tight coat of ADEX Finish, texture [see ADEX CATALOGUE] to a thickness not greater than the largest aggregate. Apply the finish coat in a continuous fashion, maintaining a wet edge.  Levelling and texturing shall take place in one operation to give the ADEX Finish a uniform appearance;

c) Avoid applications in direct sunlight;

d) Avoid applying finish coat at locations where caulking will be installed;

e) Ensure all PVC moulding connections are properly sealed.

3.5 Clean-Up

1. Remove waste and left over materials (used in this Section) from the job site.  

2. Clean all adjacent materials and surfaces, and repair any defects caused to this application or any other work.

3.6 Protection

1. Ensure that the general contractor protects all work against moisture infiltration and other damages by installing the necessary flashing and caulking in a timely manner.

2. Provide protection against dirt, moisture, high humidity, and freezing temperatures until materials are fully dry.

Information in this document contains the current recommendations for the installation of the ADEX-HC system.  It is only provided as a guide and is subject to modifications at any time without notice.  ADEX Systems Inc. reserves the right to make any modification according to technological progress. Specialised designers, architects, engineers or other professionals that choose to make any use of this information bear the complete responsibility, whatever it be, direct or indirect, that could follow from such use.   ADEX Systems Inc. does not bear any responsibility that could give way to damages, defaults, defects, deficiencies, prejudices, loss or decrease of profit, be they direct or indirect, resulting from such use of this information by specialised designers, architects, engineers or other professional.
SYSTÈMESadex
adexSYSTEMS

CENTRE DES AFFAIRES
CORPORATE SALES CENTER
7911, Marco Polo
Montréal (Québec) Canada H1E 1N8
www.adex.ca
T 514-648-1213 | F 514-648-9597

ENDUITS architecturaux
architectural COATINGS
September 2025

7
Page 8 of 8

